## LCOE
LEVELISED COST OF ELECTRICITY (LCOE) MODEL FOR A GEOTHERMAL ENERGY PROJECT IN THE UK
Inputs
| Installed Capacity | MW | 3
| Capacity Factor | % | 95%
| Lifetime | yrs | 25
| WACC (Discount Rate) | % | 10%
| Drilling Cost | £ | 15600000
| Surface Plant and Balance of Plant | £ | 10000000
| DEVEX | £ | 1000000
| O&M (as % of CAPEX) | %/yr | 2.5%
All input can be edited to test the model
Calculations
| Year |  |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
NPV
| Energy Generation | MWh | 24966 | 226617.3811 |  | 0 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966 | 24966
| Total CAPEX | £ | 26600000 | 26600000 |  | 26600000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total OPEX | £/yr | 665000 | 6036231.6121 |  | 0 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000 | 665000
Results
| LCOE | £/MWh | 144.0147
|  | USD/MWh | 194.4198
Setup
| Hours | hrs | 8760
| 1 British Pound Sterling | USD | 1.35
Sensitivity Analysis
| Sensitivity of LCOE to CAPEX (Driling Cost) |  |  |  | Sensitivity of LCOE to WACC | bar: 0
| Unit (£ , £/MWh) | 144.0147 |  |  | Unit (%, £/MWh) | 0: 144.0147
| 12480000 | 127.1227 |  |  | 6% | 0: 109.9828
| 14040000 | 135.5687 |  |  | 8% | 0: 126.4462
| 15600000 | 144.0147 |  |  | 10% | 0: 144.0147
| 17160000 | 152.4607 |  |  | 12% | 0: 162.4809
| 18720000 | 160.9066 |  |  | 14% | 0: 181.6574
| Sensitivity of LCOE to OPEX |  |  |  | Sensitivity of LCOE to Capacity Factor | bar: 0
| Unit (£ , £/MWh) | 144.0147 |  |  | Unit (%, £/MWh) | 0: 144.0147
| 1.5% | 133.3602 |  |  | 85% | 0: 160.9576
| 2% | 138.6874 |  |  | 90% | 0: 152.0155
| 2.5% | 144.0147 |  |  | 95% | 0: 144.0147
| 3% | 149.3419
| 3.5% | 154.6692
[5 empty] | High Case Deviation | 0: Low Case Deviation
|  |  |  | WACC | 37.6427 | 0: -34.0319
|  |  |  | Capacity Factor | 16.9429 | 0: 0
|  |  |  | Drilling Cost | 16.8919 | 0: -16.8919
|  |  |  | Opex | 10.6545 | 0: -10.6545
Note
All values are based on sources defined in the assignment document submitted. Any users can modify this document to test the values and see various configurations.